## Slide 1: Computerized Tomography
Deep Learning and Image Processing

## Slide 2: Computed Tomography (CT) Scan

## Slide 3: Principle
irradiate patient with X-rays from different directions
measure attenuations (absorption) of X-rays after passing through the body (different attenuations by different tissues)
use computer to reconstruct digital, cross-sectional images of the body interior, which are free from superpositions
move patient and repeat  3D image
or anything else

## Slide 4: Tomographic Reconstruction
raw data from CT scan: multiple projections of the object (each projected point corresponds to superposition of specific direction)
in math terms: Radon transformation of the scanned structure
reconstruction: inverse Radon transformation (resulting in two-dimensional image  virtual slice)
practical implementation: filtered back projection

## Slide 5: Filtered Back Projection

## Slide 6: Deep Learning Reconstruction

## Slide 7
~30% lower radiation dose at same image quality
also for MRI  faster acquisition

## Slide 8: Magnetic Resonance Imaging (MRI)